SMALL WIND-POWERED ENERGY SYSTEMS ORDINANCE

for the Town of Georgetown, Maine

Adopted June 13, 2009			Amended June 15, 2024

Section 1.  Purpose:  The purpose of this Ordinance is to regulate the placement, construction, and modification of small, fixed, wind-powered energy systems while allowing the safe, effective, and efficient use of this technology.

Section 2.  Authority:  This Ordinance is adopted pursuant to the “home rule” provisions of the Maine State Constitution, Article VIII, Part Second, and 30A MRSA §§ 2101 and 3001.

Section 3.  Applicability:  This Ordinance applies to the construction of small wind-powered energy systems in all areas of Georgetown, including those governed by the Shoreland Zoning Ordinance.

Section 4.  Effective Date:  This Ordinance shall take effect upon approval at Town Meeting.

Section 5.  Validity and Severability:  Should any section or provision of this Ordinance be declared by the courts to be invalid, such decision shall not invalidate any other section or provision of this Ordinance.

Section 6.  Conflict With Other Ordinances:  Whenever a provision of this Ordinance conflicts with or is inconsistent with another provision of this Ordinance or any other ordinance, regulation, or statute, the more restrictive provision shall apply.

Section 7.  General Requirements for Small Wind-Powered Energy Systems:  The following general requirements shall apply to all small wind-powered energy systems:

a. 	Each lot shall be limited to one small wind-powered energy system.

b. 	Small wind-powered energy systems shall not exceed a maximum system height of 100 ft. This is an allowed exception to the structure height limitations set forth in the Building Permit and the Shoreland Zoning ordinances.

c. 	Wind turbines and their support structures, if painted, shall be painted a non-reflective, non-obtrusive color.

d.	Small wind-powered energy system towers shall not be lighted unless required by the Federal Aviation Administration (FAA) or other public authority.

e. 	Wind turbines and their towers shall not be used for displaying any advertising except for reasonable identification of the manufacturer.

f. 	Prior to commencing any construction, a Building Permit must be obtained in accordance with the Building Permit or Shoreland Zoning Ordinances, as applicable.

g. 	Wind turbines and their towers are not permitted in Resource Protection Zones.

Section 8.  Setback Requirements:  The following setbacks and separation requirements shall apply to all small wind-powered energy systems:

- Property Lines: Each small wind-powered energy system shall be set back a distance equal to one hundred and ten percent of its total height from adjoining property lines and at least 75 feet from the normal high-water line or the upland edge of a wetland.

b.	 Structure on an abutter’s property: A small wind-powered energy system shall be set back a distance equal to one hundred and fifty percent of its total height from any structure on adjoining properties.

c. 	Roads: Each small wind-powered energy system shall be set back from the nearest public or private road a distance of no less than one hundred and ten percent of its total height from the nearest boundary of the underlying right of way for such road.

d. 	Communication and electrical lines: Each small wind-powered energy system shall be set back from the nearest aboveground public electric power line or telephone line a distance of no less than one hundred and ten percent of its total height, as determined from the existing power line or telephone line.

Section 9.  Noise Limitation Requirements:  All small wind-powered energy systems shall meet the following requirements:

a. 	An automatic braking, governing, or feathering system shall be required to prevent uncontrolled rotation.

b. 	Prior to approval, the applicant shall provide documentation from the manufacturer that the wind energy system will not produce noise levels in excess of 66 db as measured at the applicant’s property lines.

c. 	After installation, the owner shall have sound level measurements taken at the property lines of the lot on which the generator is sited to determine operating decibel levels. Copies of all readings taken shall be provided to the Code Enforcement Officer to append to the original building permit application.

d. 	Upon complaint of an abutter, ambient and maximum permitted decibel measurements shall be performed by an agent approved by the Code Enforcement Officer. The report shall be submitted to the Code Enforcement Officer for review. The fee for this service shall be paid by the complainant unless the maximum permitted decibel level has been exceeded, in which case the owner of the system shall pay the fee.

e. 	If the maximum decibel readings are exceeded, the installation shall be considered a nuisance.

f. 	The nuisance must be corrected within 90 days of notification. If the violation cannot be corrected, the small wind energy system shall be removed or relocated.

Section 10.  Minimum Ground Clearance:  The blade tip of any wind turbine shall, at its lowest point, have a ground clearance of no less than 20 feet.

Section 11.  Signal Interference:  The applicant shall minimize or mitigate any interference with electromagnetic communications, such as radio, telephone, or television signals, caused by any small wind energy system.

Section 12.  Safety:  The following safety requirements shall be adhered to:

a. 	All wiring between the wind turbine and the residence/facility served shall be underground.

b. 	Wind turbine towers shall not be climbable up to 15 feet above ground level.

c. 	All access doors to wind turbine towers and electrical equipment shall be locked.

d. 	Appropriate warning signage shall be placed on wind turbine towers, electrical equipment, and wind energy facility entrances.

Section 13.  Permitting Requirements:  In addition to the application and supporting documentation required by the Building Permit or Shoreland Zoning ordinances, the applicant for a small wind-powered energy system shall provide the following information to the Code Enforcement Officer:

a. 	Structural drawings of the wind tower, base pad, footings, and guy wires, prepared by the manufacturer or a professional engineer.

b. 	Drawings and specifications of the generator, hub, and blade, prepared by the manufacturer or a professional engineer.

c. 	Photographs of the proposed site and the specific small wind-energy system to be installed.

d. 	Proof that the applicant has notified abutters by certified mail, return receipt requested, of the proposed installation.

Section 14.  Fees:

- All fees shall be set by order of the Select Board, after consultation with the Planning Board and a public hearing held by the Select Board.  Said fees shall be paid by check made payable to the Town of Georgetown.  The fee schedule is available on the Town website or from the Code Enforcement Officer or the Town Clerk.

- All fees expended by the Town related to the processing of the application, including but not limited to posting fees, advertising fees, legal fees, etc. shall be reimbursed by the applicant by check to the Town of Georgetown.

Section 15. Enforcement:  This Ordinance shall be enforced by the Code Enforcement Officer. The Selectmen may take such actions as are necessary and proper to restrain, correct, remove, or punish violations of this Ordinance in accordance with 30A MRSA § 4452.

Section 16.  Definitions:  As used in this Ordinance, the following terms shall have the meanings indicated:

Ambient Decibel Levels: Measurements made during winds of 0 mph and up to 25 mph (gusts) as reported by Wiscasset Municipal Airport.

Hub Height: The distance measured from ground level to the center of the turbine hub.

Maximum Decibel Levels: Measurements taken at startup and maximum output speeds of the turbine including braking or furling conditions.

Small Wind-Powered Energy System: A wind energy conversion system consisting of a tower, wind turbine, and associated control conversion electronics which will be used primarily to produce electrical power.

System Height: The hub height plus the length of the blade extended to its highest point.

Tower: The structure on which the wind-powered energy system is mounted.

Tower Height: The height above grade of the fixed portion of a tower, excluding the wind turbine.

Wind Turbine: The parts of the wind system including the blades, generator, and tail.